## npp_wind
wind_capacity | npp_capacity | import_capacity | export_capacity | mean_NPV | std_NPV | med_NPV | max_NPV | min_NPV | perc_5_NPV | perc_95_NPV | samp_NPV | var_NPV | PointProbability | prefix | ProbabilityWeight-npp_capacity | ProbabilityWeight-wind_capacity | ProbabilityWeight
0 | 0 | 100 | -100 | -330461797249 | 1079165053.5 | -330384181285 | -328155016423 | -332375377618 | -331963369364 | -329187865469 | 20 | 1.1646e+18 | 0.00018519 | 1 | 0.16667 | 0.055556 | 0.0092593
10 | 0 | 100 | -100 | -232247733680 | 983972407.654 | -232321575356 | -230065220182 | -234505434782 | -233547933887 | -230336143598 | 20 | 9.682e+17 | 0.00018519 | 2 | 0.16667 | 0.16667 | 0.027778
30 | 0 | 100 | -100 | -99596722067.3 | 5537491774.36 | -99127305927.4 | -90026070814.1 | -109304255063 | -106472488472 | -91073910351.5 | 20 | 3.0664e+19 | 0.00018519 | 3 | 0.16667 | 0.22222 | 0.037037
50 | 0 | 100 | -100 | -67875678954.6 | 6550075754.48 | -68805021427.9 | -52443207232.8 | -78137428728.7 | -77669717890.6 | -59580685405.7 | 20 | 4.2903e+19 | 0.00018519 | 4 | 0.16667 | 0.22222 | 0.037037
70 | 0 | 100 | -100 | -53324085327.1 | 5278015900.12 | -54815557165.9 | -37722682726.6 | -59825734340.7 | -58158762426.1 | -47446634694.1 | 20 | 2.7857e+19 | 0.00018519 | 5 | 0.16667 | 0.22222 | 0.037037
90 | 0 | 100 | -100 | -46110884841.3 | 7130065236.79 | -47184148843.1 | -30841997521.9 | -55263108064.2 | -54742891707.3 | -33303841959.9 | 20 | 5.0838e+19 | 0.00018519 | 6 | 0.16667 | 0.11111 | 0.018519
0 | 20 | 100 | -100 | -3392682215.88 | 719184550.894 | -3380559908.57 | -2337318153.57 | -4751995536.59 | -4704386498.32 | -2418582949.98 | 20 | 5.1723e+17 | 0.00018519 | 7 | 0.33333 | 0.055556 | 0.018519
10 | 20 | 100 | -100 | 3986704370.34 | 1602412151.01 | 4004130832.27 | 6810259810.15 | 1120041079.28 | 1545998803.05 | 6423428971.03 | 20 | 2.5677e+18 | 0.00018519 | 8 | 0.33333 | 0.16667 | 0.055556
30 | 20 | 100 | -100 | 4484587753.47 | 1773729717.79 | 4503163926.96 | 7626917329.14 | 1840312560.22 | 1867974298.99 | 7506979093.8 | 20 | 3.1461e+18 | 0.00018519 | 9 | 0.33333 | 0.22222 | 0.074074
50 | 20 | 100 | -100 | 3364569392.33 | 1247767865.1 | 3333982241.73 | 5117237252.48 | 1047679783.02 | 1270673403.25 | 5010525160.76 | 20 | 1.5569e+18 | 0.00018519 | 10 | 0.33333 | 0.22222 | 0.074074
70 | 20 | 100 | -100 | 1043246108.34 | 976500807.732 | 1000751750.77 | 2622601971.19 | -823239486.336 | -98260841.4832 | 2536370586.58 | 20 | 9.5355e+17 | 0.00018519 | 11 | 0.33333 | 0.22222 | 0.074074
90 | 20 | 100 | -100 | -1545823667.55 | 1380808805.31 | -1397458020.6 | 87822341.0528 | -4904264986.02 | -3419701343.16 | 12551505.3532 | 20 | 1.9066e+18 | 0.00018519 | 12 | 0.33333 | 0.11111 | 0.037037
0 | 40 | 100 | -100 | 5379571331.26 | 33104061.5313 | 5374125953.83 | 5452313359.5 | 5329121101.14 | 5331968771.52 | 5428978340.81 | 20 | 1095878889870000 | 0.00018519 | 13 | 0.33333 | 0.055556 | 0.018519
10 | 40 | 100 | -100 | 4412665081.95 | 37391877.1227 | 4420299486.15 | 4469967403.89 | 4341890653.54 | 4355706261.11 | 4453200777.52 | 20 | 1398152474760000 | 0.00018519 | 14 | 0.33333 | 0.16667 | 0.055556
30 | 40 | 100 | -100 | 2229240923.89 | 51864619.7517 | 2222593122.75 | 2391264091.77 | 2152258818.93 | 2181972779.53 | 2320801005.42 | 20 | 2689938781990000 | 0.00018519 | 15 | 0.33333 | 0.22222 | 0.074074
50 | 40 | 100 | -100 | -253021111.323 | 52408238.5335 | -263039184.767 | -164173118.63 | -335794436.156 | -333915623.424 | -178679055.933 | 20 | 2746623466190000 | 0.00018519 | 16 | 0.33333 | 0.22222 | 0.074074
70 | 40 | 100 | -100 | -2881517513.04 | 57820543.1305 | -2893567581.17 | -2784522545.09 | -2968995127.15 | -2957051086.11 | -2790598373.51 | 20 | 3343215207900000 | 0.00018519 | 17 | 0.33333 | 0.22222 | 0.074074
90 | 40 | 100 | -100 | -5473789414.37 | 91085263.3399 | -5496143869.23 | -5326994353.32 | -5664454098.96 | -5582215848.45 | -5340598310.72 | 20 | 8296525197690000 | 0.00018519 | 18 | 0.33333 | 0.11111 | 0.037037
0 | 60 | 100 | -100 | 1320752.3636 | 43058355.9221 | -1722040.5616 | 110237134.551 | -67755164.3005 | -53774542.5341 | 80637121.7646 | 20 | 1854022014710000 | 0.00018519 | 19 | 0.16667 | 0.055556 | 0.0092593
10 | 60 | 100 | -100 | -977368147.524 | 39752600.0782 | -975640494.667 | -908828535.547 | -1043264419.05 | -1040287442.16 | -928001684.508 | 20 | 1580269212980000 | 0.00018519 | 20 | 0.16667 | 0.16667 | 0.027778
30 | 60 | 100 | -100 | -3171978867.43 | 43447963.1296 | -3175720900.66 | -3071364260.78 | -3263158425.53 | -3226498430.83 | -3115253439.98 | 20 | 1887725500110000 | 0.00018519 | 21 | 0.16667 | 0.22222 | 0.037037
50 | 60 | 100 | -100 | -5689697567.88 | 56877593.3659 | -5696611461.5 | -5523088676.24 | -5763561293.23 | -5756998577.23 | -5635979333.34 | 20 | 3235060627090000 | 0.00018519 | 22 | 0.16667 | 0.22222 | 0.037037
70 | 60 | 100 | -100 | -8278161852.2 | 45542213.8773 | -8269454051.53 | -8217696844.48 | -8399057530.96 | -8359673946.93 | -8224860172.75 | 20 | 2074093244840000 | 0.00018519 | 23 | 0.16667 | 0.22222 | 0.037037
90 | 60 | 100 | -100 | -10871265196 | 48526558.4517 | -10875506004.2 | -10761100528.7 | -10954388215.6 | -10933218733.2 | -10784943562.2 | 20 | 2354826875170000 | 0.00018519 | 24 | 0.16667 | 0.11111 | 0.018519

## npp_wind_storage
wind_capacity | reactor_capacity | tes_capacity | turbine_capacity | battery_capacity | import_capacity | export_capacity | mean_NPV | std_NPV | med_NPV | max_NPV | min_NPV | perc_5_NPV | perc_95_NPV | samp_NPV | var_NPV | ProbabilityWeight | PointProbability | ProbabilityWeight-wind_capacity | ProbabilityWeight-battery_capacity | prefix | ProbabilityWeight-tes_capacity | ProbabilityWeight-reactor_capacity
0 | 0 | 0 | 200 | 0 | 100 | -100 | -330678399947 | 718109879.536 | -330690418246 | -329031556243 | -332215569018 | -331764773858 | -329678552255 | 20 | 5.1568e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 1 | 0.5 | 0.5
15 | 0 | 0 | 200 | 0 | 100 | -100 | -183719830186 | 1164777465.85 | -184022947126 | -180895874851 | -185368737968 | -184976179986 | -181756201069 | 20 | 1.3567e+18 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 2 | 0.5 | 0.5
0 | 50 | 0 | 200 | 0 | 100 | -100 | 4496265356.36 | 623521184.929 | 4614390227.75 | 5498666189.96 | 3347539315.45 | 3542104893.16 | 5297779761.04 | 20 | 3.8878e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 5 | 0.5 | 0.5
15 | 50 | 0 | 200 | 0 | 100 | -100 | 6447175377.14 | 1134640390.5 | 6651757440.28 | 7984197871.58 | 4387500469.03 | 4429307592.44 | 7927459918.47 | 20 | 1.2874e+18 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 6 | 0.5 | 0.5
0 | 0 | 0 | 200 | 5 | 100 | -100 | -330462954513 | 855462299.99 | -330205433035 | -328942723656 | -332155584534 | -331825304192 | -329366276278 | 20 | 7.3182e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 9 | 0.5 | 0.5
15 | 0 | 0 | 200 | 5 | 100 | -100 | -183619105056 | 1023873642.25 | -183722724755 | -181205012225 | -185744545375 | -184749559461 | -181796827813 | 20 | 1.0483e+18 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 10 | 0.5 | 0.5
0 | 50 | 0 | 200 | 5 | 100 | -100 | 6610466384.07 | 645006100.687 | 6688046422.15 | 7482506874.19 | 5055977719.97 | 5488842309.56 | 7419724094.73 | 20 | 4.1603e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 13 | 0.5 | 0.5
15 | 50 | 0 | 200 | 5 | 100 | -100 | 7219639968.64 | 532438634.088 | 7214629615.71 | 7939553248.24 | 6301321714.99 | 6395620645.94 | 7926431108.34 | 20 | 2.8349e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 14 | 0.5 | 0.5
0 | 0 | 10 | 200 | 0 | 100 | -100 | -330313371068 | 818693169.096 | -330344923811 | -328870853369 | -332200835149 | -331758545623 | -329299634571 | 20 | 6.7026e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 3 | 0.5 | 0.5
15 | 0 | 10 | 200 | 0 | 100 | -100 | -183848761340 | 1328286136.27 | -183693643889 | -181372839698 | -187353562267 | -185570200195 | -182211149934 | 20 | 1.7643e+18 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 4 | 0.5 | 0.5
0 | 50 | 10 | 200 | 0 | 100 | -100 | 6026865670.84 | 608402203.145 | 6079660711.36 | 7166670411.75 | 4741653451.15 | 4902369698.38 | 6840686772.37 | 20 | 3.7015e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 7 | 0.5 | 0.5
15 | 50 | 10 | 200 | 0 | 100 | -100 | 7330587020.35 | 625626592.084 | 7479241149.35 | 8078369185.64 | 6018852017.01 | 6177365714.31 | 7966632857.42 | 20 | 3.9141e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 8 | 0.5 | 0.5
0 | 0 | 10 | 200 | 5 | 100 | -100 | -330776070427 | 676770734.896 | -330742684600 | -329450671336 | -331884172778 | -331769019884 | -329541393495 | 20 | 4.5802e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 11 | 0.5 | 0.5
15 | 0 | 10 | 200 | 5 | 100 | -100 | -183943693181 | 1756166059.22 | -183275249456 | -181992506233 | -188927895229 | -186385355378 | -182037093609 | 20 | 3.0841e+18 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 12 | 0.5 | 0.5
0 | 50 | 10 | 200 | 5 | 100 | -100 | 7901349762.03 | 869110666.448 | 7829560097.9 | 9372232135.46 | 6336408400.36 | 6397627297.54 | 9147089784.2 | 20 | 7.5535e+17 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 15 | 0.5 | 0.5
15 | 50 | 10 | 200 | 5 | 100 | -100 | 7777749490.49 | 232958060.364 | 7843314835.23 | 7955222256.59 | 6936712754.79 | 7382767487.33 | 7938880735.12 | 20 | 54269457888400000 | 0.0625 | 2.6667e-05 | 0.5 | 0.5 | 16 | 0.5 | 0.5